## RT Sample Layout
Collection Date: |  |  | 2021-06-21
Collection Number: |  |  | 89
| strip tube 1 |  |  |  | strip tube 3
RT Step (Strip Tubes)
1 | NO | 89 | A | 9 | CC | 89 | A
2 | NO | 89 | B | 10 | CC | 89 | B
3 | NO | 89 | C | 11 | CC | 89 | C
4 | NO | 89 | D | 12 | CC | 89 | D
5 | NO | 89 | E | 13 | CC | 89 | E |  | 1.5uL sample + 1.5 uL BCOV RNA
6 | NO | 89 | F | 14 | CC | 89 | F
7 | Blank |  |  | 15
8 | SARS CoV 2 |  |  | 16 |  |  |  | for h20 use AVE
| strip tube 2 |  |  |  | strip tube 4
1 | MI | 89 | A | 1 | CalfGuard | 89
2 | MI | 89 | B | 2 | NO | 89 | A + BCOV RNA
3 | MI | 89 | C | 3 | MI | 89 | A + RNA
4 | MI | 89 | D | 4 | CC | 89 | A + RNA
5 | MI | 89 | E | 5 | H20 + RNA
6 | MI | 89 | F | 6
7 |  |  |  | 7
8 |  |  |  | 8

## RT MasterMix
Collection Date: | 2021-02-10
Collection Num: | 89
Number of Samples: | 28
PCR Protocol
1. Aliquot 12.75 uL of Mixture 1 into individual PCR tubes.
2. Add 3 uL RNA sample to each reaction.
3. Heat Mixture 1 for 5 min at 65C. Cool on ice.
4. Add Mixture 2. Invert gently.
5. Incubate for 10 min at 25C.
6. Incubate for 50 min at 37C.
7. Inactivate the reaction by heating for 15 min at 70C.
MIXTURE 1 |  |  |  |  | **keep mix 2 on ice
Reagent | uL per RXN | # RXNs | Total uL |  | make mixture 1 and 2 in clean hood
RNAse-Free Water | 10.25 | 28 | 287 |  | combine mix 1 and RNA
dNTP Mix (10 mM) | 1.25 | 28 | 35 |  | incubate
Random Hexamer (60 uM) | 1.25 | 28 | 35 |  | add mix 2
spin down, back in thermocycler (most recent, saved RT)
Total Volume | 12.75 | 28 | 357
Add 3 uL of Sample RNA to 12.75 uL of Mixture 1. Heat for 5 min at 65C. Cool on ice.
MIXTURE 2
Reagent | uL per RXN | # RXNs | Total uL
M-MLV 5X Buffer | 5 | 28 | 140
0.1 M DTT | 2.5 | 28 | 70
SUPERase•In RNase Inhibitor (20U/uL) | 0.5 | 28 | 14 | NO VORTEX
M-MLV RT | 1.25 | 28 | 35 | NO VORTEX
Total Volume | 9.25 | 28 | 259
Add 9.25 uL of Mixture 2 to each reaction. Run RT-Step.
Notes:
> M-MLV Reverse Transcriptase Lot #
> Superase Lot #

## qPCR Plate Layout
Collection Date: |  |  | 2021-05-26
Collection Number: |  |  | 81
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 |  | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
A | NO 89A |  |  | MI |  |  | CC |  |  | SARS-CoV-2 UND |  |  | A | SARS-CoV-2 UND
B | [12 empty] | B
C | NO 89B |  |  | MI |  |  | CC |  |  | SARS-CoV-2 1:5 |  |  | C | SARS-CoV-2 1:5
D | [12 empty] | D
E | NO 89C |  |  | MI |  |  | CC |  |  | SARS-CoV-2 1:25 |  |  | E | SARS-CoV-2 1:25
F | [12 empty] | F
G | NO 89D |  |  | MI |  |  | CC |  |  | SARS-CoV-2 1:125 |  |  | G | SARS-CoV-2 1:125
H | [12 empty] | H
I | NO 89E |  |  | MI |  |  | CC |  |  | SARS-CoV-2 1:625 |  |  | I | SARS-CoV-2 1:625
J | [12 empty] | J
K | NO 89F |  |  | MI |  |  | CC |  |  | SARS-CoV-2 1:3125 |  |  | K | SARS-CoV-2 1:3125
L | [12 empty] | L
M | BLANK | [8 empty] | SARS-CoV-2 1:15625 |  |  | M | SARS-CoV-2 1:15625
N | [12 empty] | N
O | SARS-CoV-2 RNA Control | [8 empty] | Blank |  |  | O | Blank
P | [12 empty] | P

## qPCR MasterMix
Collection Date: | 2021-06-21
Collection Num: | 89
Number of Samples: | 20
Effective Number of Samples | 75
Reaction Volume: | 20
SARS-CoV-2 MasterMix (BioBot) | [5 empty] | for N1 and N2, two separate master mix
Reagent | uL per RXN | # RXNs | Total uL | Final Conc.
RNAse-Free Water | 6.5 | 75 | 487.5
2X TaqMan Fast Advanced MasterMix | 10 | 75 | 750 | 1 | U | use a fresh tip for taq; if conversing tips be sure to change volume for each mix (N1/N2 vs BCOV)
IDT Primer & Probe Kit | 1.5 | 75 | 112.5 | 0.5, 0.5, 0.13 | uM
Total Volume | 18 | 75 | 1350
1. Add 62.1 uL of MasterMix to Individual strip tubes for each sample (for RXN in triplicate). | [5 empty] | can vortex mastermix when moving from reagent to sample hood
2. Add 6.9 uL of sample cDNA to each strip tube.
3. Aliquot strip tubes into 96-Well Plate. (20ul)
Number of Samples: | 8
Effective Number of Samples | 30
Reaction Volume: | 20 | [5 empty] | expoert and save to COVID WASTEWATER on desktop, also export to flashdrive
BCoV MasterMix (Decaro 2008)
Reagent | uL per RXN | # RXNs | Total uL | Final Conc.
RNAse-Free Water | 6.6 | 30 | 198
2X TaqMan Fast Advanced MasterMix | 10 | 30 | 300 | 1 | U
F Primer (20 uM) | 0.6 | 30 | 18 | 0.6 | uM
R Primer (20 uM) | 0.6 | 30 | 18 | 0.6 | uM
Probe (20 uM) | 0.2 | 30 | 6 | 0.2 | uM
Total Volume | 18 | 30 | 540
1. Add 62.1 uL of MasterMix to Individual strip tubes for each sample (for RXN in triplicate).
2. Add 6.9 uL of sample cDNA to each strip tube.
3. Aliquot strip tubes into 96-Well Plate.

## Results
Well | Fluor | Target | Content | Sample | Biological Set Name | Cq | Cq Mean | Cq Std. Dev | Starting Quantity (SQ) | Log Starting Quantity | SQ Mean | SQ Std. Dev | Set Point | Well Note
A01 | FAM | N1 | Unkn | NO 89 |  | NaN | 0 | 0 | NaN | NaN | 0 | 0 | 55
A02 | FAM | N1 | Unkn | NO 89 |  | NaN | 0 | 0 | NaN | NaN | 0 | 0 | 55
A03 | FAM | N1 | Unkn | NO 89 |  | NaN | 0 | 0 | NaN | NaN | 0 | 0 | 55
A04 | FAM | N1 | Unkn | MI 89 |  | NaN | 0 | 0 | NaN | NaN | 0 | 0 | 55
A05 | FAM | N1 | Unkn | MI 89 |  | NaN | 0 | 0 | NaN | NaN | 0 | 0 | 55
A06 | FAM | N1 | Unkn | MI 89 |  | NaN | 0 | 0 | NaN | NaN | 0 | 0 | 55
A07 | FAM | N1 | Unkn | CC 89 A |  | NaN | 0 | 0 | NaN | NaN | 0 | 0 | 55
A08 | FAM | N1 | Unkn | CC 89 A |  | NaN | 0 | 0 | NaN | NaN | 0 | 0 | 55
A09 | FAM | N1 | Unkn | CC 89 A |  | NaN | 0 | 0 | NaN | NaN | 0 | 0 | 55
A10 | FAM | N1 | Unkn | UND |  | 23.6689 | 23.6689 | 0 | NaN | NaN | NaN | 0 | 55
A11 | FAM | N1 | Unkn | UND |  | 23.3574 | 23.3574 | 0 | NaN | NaN | NaN | 0 | 55
A12 | FAM | N1 | Unkn | UND |  | 23.6921 | 23.6921 | 0 | NaN | NaN | NaN | 0 | 55
A13 | FAM | N2 | Unkn | UND |  | 24.0489 | 24.0489 | 0 | NaN | NaN | NaN | 0 | 55
A14 | FAM | N2 | Unkn | UND |  | 24.4398 | 24.4398 | 0 | NaN | NaN | NaN | 0 | 55
A15 | FAM | N2 | Unkn | UND |  | 24.5489 | 24.5489 | 0 | NaN | NaN | NaN | 0 | 55
C01 | FAM | N1 | Unkn | NO 89 |  | NaN | 0 | 0 | NaN | NaN | 0 | 0 | 55
C02 | FAM | N1 | Unkn | NO 89 |  | NaN | 0 | 0 | NaN | NaN | 0 | 0 | 55
C03 | FAM | N1 | Unkn | NO 89 |  | NaN | 0 | 0 | NaN | NaN | 0 | 0 | 55
C04 | FAM | N1 | Unkn | MI 89 |  | NaN | 0 | 0 | NaN | NaN | 0 | 0 | 55
C05 | FAM | N1 | Unkn | MI 89 |  | NaN | 0 | 0 | NaN | NaN | 0 | 0 | 55
C06 | FAM | N1 | Unkn | MI 89 |  | NaN | 0 | 0 | NaN | NaN | 0 | 0 | 55
C07 | FAM | N1 | Unkn | CC 89 B |  | NaN | 0 | 0 | NaN | NaN | 0 | 0 | 55
C08 | FAM | N1 | Unkn | CC 89 B |  | NaN | 0 | 0 | NaN | NaN | 0 | 0 | 55
C09 | FAM | N1 | Unkn | CC 89 B |  | NaN | 0 | 0 | NaN | NaN | 0 | 0 | 55
C10 | FAM | N1 | Unkn | 1:5 |  | 26.5472 | 26.5472 | 0 | NaN | NaN | NaN | 0 | 55
C11 | FAM | N1 | Unkn | 1:5 |  | 26.3951 | 26.3951 | 0 | NaN | NaN | NaN | 0 | 55
C12 | FAM | N1 | Unkn | 1:5 |  | 26.11 | 26.11 | 0 | NaN | NaN | NaN | 0 | 55
C13 | FAM | N2 | Unkn | 1:5 |  | 26.6277 | 26.6277 | 0 | NaN | NaN | NaN | 0 | 55
C14 | FAM | N2 | Unkn | 1:5 |  | 26.5465 | 26.5465 | 0 | NaN | NaN | NaN | 0 | 55
C15 | FAM | N2 | Unkn | 1:5 |  | 26.9191 | 26.9191 | 0 | NaN | NaN | NaN | 0 | 55
E01 | FAM | N1 | Unkn | NO 89 |  | NaN | 0 | 0 | NaN | NaN | 0 | 0 | 55
E02 | FAM | N1 | Unkn | NO 89 |  | NaN | 0 | 0 | NaN | NaN | 0 | 0 | 55
E03 | FAM | N1 | Unkn | NO 89 |  | NaN | 0 | 0 | NaN | NaN | 0 | 0 | 55
E04 | FAM | N1 | Unkn | MI 89 |  | NaN | 0 | 0 | NaN | NaN | 0 | 0 | 55
E05 | FAM | N1 | Unkn | MI 89 |  | NaN | 0 | 0 | NaN | NaN | 0 | 0 | 55
E06 | FAM | N1 | Unkn | MI 89 |  | NaN | 0 | 0 | NaN | NaN | 0 | 0 | 55
E07 | FAM | N1 | Unkn | CC 89 C |  | 35.3466 | 35.3466 | 0 | NaN | NaN | NaN | 0 | 55
E08 | FAM | N1 | Unkn | CC 89 C |  | NaN | 0 | 0 | NaN | NaN | 0 | 0 | 55
E09 | FAM | N1 | Unkn | CC 89 C |  | 36.4063 | 36.4063 | 0 | NaN | NaN | NaN | 0 | 55
E10 | FAM | N1 | Unkn | 1:25 |  | 28.5356 | 28.5356 | 0 | NaN | NaN | NaN | 0 | 55
E11 | FAM | N1 | Unkn | 1:25 |  | 28.7832 | 28.7832 | 0 | NaN | NaN | NaN | 0 | 55
E12 | FAM | N1 | Unkn | 1:25 |  | 28.5451 | 28.5451 | 0 | NaN | NaN | NaN | 0 | 55
E13 | FAM | N2 | Unkn | 1:25 |  | NaN | 0 | 0 | NaN | NaN | 0 | 0 | 55
E14 | FAM | N2 | Unkn | 1:25 |  | 29.7094 | 29.7094 | 0 | NaN | NaN | NaN | 0 | 55
E15 | FAM | N2 | Unkn | 1:25 |  | 29.2999 | 29.2999 | 0 | NaN | NaN | NaN | 0 | 55
G01 | FAM | N1 | Unkn | NO 89 |  | NaN | 0 | 0 | NaN | NaN | 0 | 0 | 55
G02 | FAM | N1 | Unkn | NO 89 |  | NaN | 0 | 0 | NaN | NaN | 0 | 0 | 55
G03 | FAM | N1 | Unkn | NO 89 |  | NaN | 0 | 0 | NaN | NaN | 0 | 0 | 55
G04 | FAM | N1 | Unkn | MI 89 |  | 33.6449 | 33.6449 | 0 | NaN | NaN | NaN | 0 | 55
G05 | FAM | N1 | Unkn | MI 89 |  | 33.7037 | 33.7037 | 0 | NaN | NaN | NaN | 0 | 55
G06 | FAM | N1 | Unkn | MI 89 |  | 33.8997 | 33.8997 | 0 | NaN | NaN | NaN | 0 | 55
G07 | FAM | N1 | Unkn | CC 89 D |  | 30.8253 | 30.8253 | 0 | NaN | NaN | NaN | 0 | 55
G08 | FAM | N1 | Unkn | CC 89 D |  | 32.6974 | 32.6974 | 0 | NaN | NaN | NaN | 0 | 55
G09 | FAM | N1 | Unkn | CC 89 D |  | 33.777 | 33.777 | 0 | NaN | NaN | NaN | 0 | 55
G10 | FAM | N1 | Unkn | 1:125 |  | 32.3555 | 32.3555 | 0 | NaN | NaN | NaN | 0 | 55
G11 | FAM | N1 | Unkn | 1:125 |  | 32.2025 | 32.2025 | 0 | NaN | NaN | NaN | 0 | 55
G12 | FAM | N1 | Unkn | 1:125 |  | 32.486 | 32.486 | 0 | NaN | NaN | NaN | 0 | 55
G13 | FAM | N2 | Unkn | 1:125 |  | NaN | 0 | 0 | NaN | NaN | 0 | 0 | 55
G14 | FAM | N2 | Unkn | 1:125 |  | 32.6126 | 32.6126 | 0 | NaN | NaN | NaN | 0 | 55
G15 | FAM | N2 | Unkn | 1:125 |  | 32.8023 | 32.8023 | 0 | NaN | NaN | NaN | 0 | 55
I01 | FAM | N1 | Unkn | NO 89 |  | NaN | 0 | 0 | NaN | NaN | 0 | 0 | 55
I02 | FAM | N1 | Unkn | NO 89 |  | NaN | 0 | 0 | NaN | NaN | 0 | 0 | 55
I03 | FAM | N1 | Unkn | NO 89 |  | NaN | 0 | 0 | NaN | NaN | 0 | 0 | 55
I04 | FAM | N1 | Unkn | MI 89 |  | 38.6841 | 38.6841 | 0 | NaN | NaN | NaN | 0 | 55
I05 | FAM | N1 | Unkn | MI 89 |  | NaN | 0 | 0 | NaN | NaN | 0 | 0 | 55
I06 | FAM | N1 | Unkn | MI 89 |  | NaN | 0 | 0 | NaN | NaN | 0 | 0 | 55
I07 | FAM | N1 | Unkn | CC 89 E |  | 37.4072 | 37.4072 | 0 | NaN | NaN | NaN | 0 | 55
I08 | FAM | N1 | Unkn | CC 89 E |  | 37.1323 | 37.1323 | 0 | NaN | NaN | NaN | 0 | 55
I09 | FAM | N1 | Unkn | CC 89 E |  | 34.671 | 34.671 | 0 | NaN | NaN | NaN | 0 | 55
I10 | FAM | N1 | Unkn | 1:625 |  | 35.2523 | 35.2523 | 0 | NaN | NaN | NaN | 0 | 55
I11 | FAM | N1 | Unkn | 1:625 |  | 34.7065 | 34.7065 | 0 | NaN | NaN | NaN | 0 | 55
I12 | FAM | N1 | Unkn | 1:625 |  | 34.3606 | 34.3606 | 0 | NaN | NaN | NaN | 0 | 55
I13 | FAM | N2 | Unkn | 1:625 |  | NaN | 0 | 0 | NaN | NaN | 0 | 0 | 55
I14 | FAM | N2 | Unkn | 1:625 |  | 34.8911 | 34.8911 | 0 | NaN | NaN | NaN | 0 | 55
I15 | FAM | N2 | Unkn | 1:625 |  | 35.3976 | 35.3976 | 0 | NaN | NaN | NaN | 0 | 55
K01 | FAM | N1 | Unkn | NO 89 |  | NaN | 0 | 0 | NaN | NaN | 0 | 0 | 55
K02 | FAM | N1 | Unkn | NO 89 |  | NaN | 0 | 0 | NaN | NaN | 0 | 0 | 55
K03 | FAM | N1 | Unkn | NO 89 |  | NaN | 0 | 0 | NaN | NaN | 0 | 0 | 55
K04 | FAM | N1 | Unkn | MI 89 |  | NaN | 0 | 0 | NaN | NaN | 0 | 0 | 55
K05 | FAM | N1 | Unkn | MI 89 |  | NaN | 0 | 0 | NaN | NaN | 0 | 0 | 55
K06 | FAM | N1 | Unkn | MI 89 |  | NaN | 0 | 0 | NaN | NaN | 0 | 0 | 55
K07 | FAM | N1 | Unkn | CC 89 F |  | NaN | 0 | 0 | NaN | NaN | 0 | 0 | 55
K08 | FAM | N1 | Unkn | CC 89 F |  | NaN | 0 | 0 | NaN | NaN | 0 | 0 | 55
K09 | FAM | N1 | Unkn | CC 89 F |  | NaN | 0 | 0 | NaN | NaN | 0 | 0 | 55
K10 | FAM | N1 | Unkn | 1:3125 |  | 35.9594 | 35.9594 | 0 | NaN | NaN | NaN | 0 | 55
K11 | FAM | N1 | Unkn | 1:3125 |  | NaN | 0 | 0 | NaN | NaN | 0 | 0 | 55
K12 | FAM | N1 | Unkn | 1:3125 |  | 37.3288 | 37.3288 | 0 | NaN | NaN | NaN | 0 | 55
K13 | FAM | N2 | Unkn | 1:3125 |  | NaN | 0 | 0 | NaN | NaN | 0 | 0 | 55
K14 | FAM | N2 | Unkn | 1:3125 |  | 38.6524 | 38.6524 | 0 | NaN | NaN | NaN | 0 | 55
K15 | FAM | N2 | Unkn | 1:3125 |  | NaN | 0 | 0 | NaN | NaN | 0 | 0 | 55
M01 | FAM | N1 | Unkn | BLANK |  | NaN | 0 | 0 | NaN | NaN | 0 | 0 | 55
M02 | FAM | N1 | Unkn | BLANK |  | NaN | 0 | 0 | NaN | NaN | 0 | 0 | 55
M03 | FAM | N1 | Unkn | BLANK |  | NaN | 0 | 0 | NaN | NaN | 0 | 0 | 55
M10 | FAM | N1 | Unkn | 1:15625 |  | NaN | 0 | 0 | NaN | NaN | 0 | 0 | 55
M11 | FAM | N1 | Unkn | 1:15625 |  | NaN | 0 | 0 | NaN | NaN | 0 | 0 | 55
M12 | FAM | N1 | Unkn | 1:15625 |  | NaN | 0 | 0 | NaN | NaN | 0 | 0 | 55
M13 | FAM | N2 | Unkn | 1:15625 |  | NaN | 0 | 0 | NaN | NaN | 0 | 0 | 55
M14 | FAM | N2 | Unkn | 1:15625 |  | 38.4495 | 38.4495 | 0 | NaN | NaN | NaN | 0 | 55
M15 | FAM | N2 | Unkn | 1:15625 |  | NaN | 0 | 0 | NaN | NaN | 0 | 0 | 55
O01 | FAM | N1 | Unkn | SARS-CoV-2 RNA |  | 14.646 | 14.646 | 0 | NaN | NaN | NaN | 0 | 55
O02 | FAM | N1 | Unkn | SARS-CoV-2 RNA |  | 14.5565 | 14.5565 | 0 | NaN | NaN | NaN | 0 | 55
O03 | FAM | N1 | Unkn | SARS-CoV-2 RNA |  | 14.4676 | 14.4676 | 0 | NaN | NaN | NaN | 0 | 55
O10 | FAM | N1 | Unkn | BLANK |  | NaN | 0 | 0 | NaN | NaN | 0 | 0 | 55
O11 | FAM | N1 | Unkn | BLANK |  | NaN | 0 | 0 | NaN | NaN | 0 | 0 | 55
O12 | FAM | N1 | Unkn | BLANK |  | NaN | 0 | 0 | NaN | NaN | 0 | 0 | 55
O13 | FAM | N2 | Unkn | BLANK |  | NaN | 0 | 0 | NaN | NaN | 0 | 0 | 55
O14 | FAM | N2 | Unkn | BLANK |  | NaN | 0 | 0 | NaN | NaN | 0 | 0 | 55
O15 | FAM | N2 | Unkn | BLANK |  | NaN | 0 | 0 | NaN | NaN | 0 | 0 | 55

## Standard Curves
Target | Sample | Cq | Quant | Log_Quant
N1 | UND | 23.6689 | 4000 | 3.6021
N1 | UND | 23.3574 | 4000 | 3.6021
N1 | UND | 23.6921 | 4000 | 3.6021
N1 | 1:5 | 26.5472 | 800 | 2.9031
N1 | 1:5 | 26.3951 | 800 | 2.9031
N1 | 1:5 | 26.11 | 800 | 2.9031
N1 | 1:25 | 28.5356 | 160 | 2.2041
N1 | 1:25 | 28.7832 | 160 | 2.2041
N1 | 1:25 | 28.5451 | 160 | 2.2041
N1 | 1:125 | 32.3555 | 32 | 1.5051
N1 | 1:125 | 32.2025 | 32 | 1.5051
N1 | 1:125 | 32.486 | 32 | 1.5051
N1 | 1:625 | 35.2523 | 6.4 | 0.80618
N1 | 1:625 | 34.7065 | 6.4 | 0.80618
N1 | 1:625 | 34.3606 | 6.4 | 0.80618
N1 | 1:3125 | 35.9594 | 1.28 | 0.10721
N1 | 1:3125 | 37.3288 | 1.28 | 0.10721
Target | Sample | Cq | Quant | Log_Quant
N2 | UND | 24.0489 | 4000 | 3.6021
N2 | UND | 24.4398 | 4000 | 3.6021
N2 | UND | 24.5489 | 4000 | 3.6021
N2 | 1:5 | 26.6277 | 800 | 2.9031
N2 | 1:5 | 26.5465 | 800 | 2.9031
N2 | 1:5 | 26.9191 | 800 | 2.9031
N2 | 1:25 | 29.7094 | 160 | 2.2041
N2 | 1:25 | 29.2999 | 160 | 2.2041
N2 | 1:125 | 32.6126 | 32 | 1.5051
N2 | 1:125 | 32.8023 | 32 | 1.5051
N2 | 1:625 | 34.8911 | 6.4 | 0.80618
N2 | 1:625 | 35.3976 | 6.4 | 0.80618
N2 | 1:3125 | 38.6524 | 1.28 | 0.10721
N2 | 1:15625 | 38.4495 | 0.256 | -0.59176

## Sheet1
Target | Sample | Cq | Quant | Log_Quant | quantity_update
N1 | UND | 23.6689 | 4000 | 3.6021 | 10000
N1 | UND | 23.3574 | 4000 | 3.6021 | 10000
N1 | UND | 23.6921 | 4000 | 3.6021 | 10000
N1 | 1:5 | 26.5472 | 800 | 2.9031 | 1000
N1 | 1:5 | 26.3951 | 800 | 2.9031 | 1000
N1 | 1:5 | 26.11 | 800 | 2.9031 | 1000
N1 | 1:25 | 28.5356 | 160 | 2.2041 | 100
N1 | 1:25 | 28.7832 | 160 | 2.2041 | 100
N1 | 1:25 | 28.5451 | 160 | 2.2041 | 100
N1 | 1:125 | 32.3555 | 32 | 1.5051 | 10
N1 | 1:125 | 32.2025 | 32 | 1.5051 | 10
N1 | 1:125 | 32.486 | 32 | 1.5051 | 10
N1 | 1:625 | 35.2523 | 6.4 | 0.80618 | 1
N1 | 1:625 | 34.7065 | 6.4 | 0.80618 | 1
N1 | 1:625 | 34.3606 | 6.4 | 0.80618 | 1
N1 | 1:3125 | 35.9594 | 1.28 | 0.10721 | 0.1
N1 | 1:3125 | 37.3288 | 1.28 | 0.10721 | 0.1
N2 | UND | 24.0489 | 4000 | 3.6021 | 10000
N2 | UND | 24.4398 | 4000 | 3.6021 | 10000
N2 | UND | 24.5489 | 4000 | 3.6021 | 10000
N2 | 1:5 | 26.6277 | 800 | 2.9031 | 1000
N2 | 1:5 | 26.5465 | 800 | 2.9031 | 1000
N2 | 1:5 | 26.9191 | 800 | 2.9031 | 1000
N2 | 1:25 | 29.7094 | 160 | 2.2041 | 100
N2 | 1:25 | 29.2999 | 160 | 2.2041 | 100
N2 | 1:125 | 32.6126 | 32 | 1.5051 | 10
N2 | 1:125 | 32.8023 | 32 | 1.5051 | 10
N2 | 1:625 | 34.8911 | 6.4 | 0.80618 | 1
N2 | 1:625 | 35.3976 | 6.4 | 0.80618 | 1
N2 | 1:3125 | 38.6524 | 1.28 | 0.10721 | 0.1
N2 | 1:15625 | 38.4495 | 0.256 | -0.59176 | 0.01